## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20088
DATE OF REPORT: 08/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20088
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 27/06/2022, 30/06/2022, 08/07/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Hot water poor within Flat 11. Please call the tenant 1 hour before arriving to site.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20088
SECTION 3: Report
Found heat restriction through plate heat exchanger recommend plate heat ex to be replaced attached photos of model and serial number of boiler Dismantled boiler, blew down flow and return from top of boiler and from plate to plate side, replaced plate to plate. Tried hot water again and was worse, stripped boiler down again and realised the actuator for the hot water had not turned while asked for a demand, manually opened valve and water was red hot. Tried it again and this time the acutaor turned but not doing a full rotation in one go. Was moving a little then stopping then going again. So actuator needs replacing. Tenant has hot water for now due to leaving actuator head off.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes