## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Thornbury
Front Street
Winlaton
NE21 4RE
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-20097
DATE OF REPORT: 22/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20097
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Thornbury
Front Street
Winlaton
NE21 4RE
Carried Out On | 22/06/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
All the heating in the building is 27 degrees - in all the proprties and this is is not been able to be turned down or off. The heating is on 24/7. If there is no TRV on the communal rads can this be logged and actioned. Door codes 2413 and 2206. Can the system be isolated if need be. Any issues, Jamie 07771866824

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20097
SECTION 3: Report
Turned lockshield off on front door rad and floor 1 hall rad. Trvs need replacing heating in flats all ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20097
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20097
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20097
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20097
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20097
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes