## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
32 Whinney Banks
Middlesborough
TS5 4JB
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-20147
DATE OF REPORT: 11/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20147
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 32 Whinney Banks
Middlesborough
TS5 4JB
Carried Out On | 11/07/2022
Survey Completed By | Andrew Diffley
SECTION 2: Introduction
Planned new full heating system installation

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20147
SECTION 3: Report
Gas pressures are slightly out. Bouncing between 21.5 and 22 at meter 18.5 at boiler. Customer has laminate flooring in living room which has the gas supply underneath. Gas meter has not been commissioned and states NOT USED when 9 is pressed so unable to measure gas rates

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20147
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20147
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20147
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20147
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20147
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes