## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Dunblane Crescent
West Denton
Newcastle Upon Tyne
NE5 2BE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20149
DATE OF REPORT: 08/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20149
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 26 Dunblane Crescent
West Denton
Newcastle Upon Tyne
NE5 2BE
Carried Out On | 04/08/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Reactive electrics for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20149
SECTION 3: Report
Combi: Conversion: Yes S/plan: Y/plan: Zoned: Earthing system: TNCS Main Fuse: 100 Meter tail size: 25 Main earth size: 16 Gas bond:10 Water bond:Plastic Consumer unit: MAKE:WYLEX MCB SIZE:6A EDITION: 16th LOCATION:Hallway cupboard CIRCUIT DESCRIPTION:Boiler CIRCUIT NUMBER:03 CS-1.5/1mm Ze: .13 PFC: 1.78KA Zdb: .16 PFC: 1.43 PSCC: .16 1.44KA L-L: N-N: E-E: R1+R2: .24 Zs: .40 30mA: RCD X 1:18.1 RCD X 5:18.2 100mA: Any issues with installation ie: FAULT CODES EQUIPMENT USED: WAS A RCBO USED: 6A RCBO WYLEX STAT: PROGRAMMER: CYL STAT: WIRING CENTRE: CROSS BONDED: BLANK PLATES: FUSED SPUR CONNECTION UNIT: BACK-BOX: WAGO’s: TRUNKING: CABLE 5 CORE: CABLE 3 CORE: ANY OTHER CABLE USED:

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes