## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Oriole House
Lyndhurst Road
Benton
NE12 9NL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20217
DATE OF REPORT: 03/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20217
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Oriole House
Lyndhurst Road
Benton
NE12 9NL
Carried Out On | 29/06/2022, 14/07/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Black sludge coming through the water - Northumbrian water have attended and advised everything at their side is clear

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20217
SECTION 3: Report
Report on black sludge coming out of tap ran tap in kitchen sink and bath to find water clear as day. Unable to gain access in loft space to check for tanks. Looked into loft space but no tanks to be seen. Tried to gain access to flat but tenant would not let me in.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20217
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20217
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20217
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20217
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20217
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes