## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Aged Miners Homes
Bear Park
County Durham
DH7 7DN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-20218
DATE OF REPORT: 28/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20218
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 9 Aged Miners Homes
Bear Park
County Durham
DH7 7DN
Carried Out On | 27/06/2022
Survey Completed By | Christopher Reynolds
SECTION 2: Introduction
Boiler has gone off and there is no heating or hot water in the property. Tried to reset boiler, but not coming back on

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20218
SECTION 3: Report
Customer had a electrical fault tripping fuse box. Thermostat not receiving, programmer working, boiler fuse all as it should be. Reset programmer demand started again. 2043 - 1200 (3hrs 17 mins)

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20218
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20218
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20218
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20218
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20218
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes