## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Derwent Crescent
Great Lumley
County Durham
DH3 4JX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20222
DATE OF REPORT: 28/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20222
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Derwent Crescent
Great Lumley
County Durham
DH3 4JX
Carried Out On | 28/06/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Tenant still having issues with the boiler that was replaced recently. Greame to feed back on issues and whether we need to request an order from Karbon

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20222
SECTION 3: Report
Whistle noise been made when fan reaches set speed and is drawing air through the injector causing it to whistle. Cleanned injector and not doing noise all the time but have called ideal support and they are coming out tomorrow to replace fan, reference number 02069750.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20222
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20222
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20222
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20222
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20222
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes