## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
38 Phoenix Rise
Ambassadors Way
North Shields
NE29 8SQ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-20308
DATE OF REPORT: 19/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20308
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 38 Phoenix Rise
Ambassadors Way
North Shields
NE29 8SQ
Carried Out On | 30/06/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Bedroom heating not working, Bedroom pipes/flow return not getting hot, cartridges been changed and stats checked

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20308
SECTION 3: Report
GP - On arrival checked cartridges and found some were leaking and some actuators therefore had water ingress. Heating system sluggish investigation into pressure differential valves advised.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20308
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20308
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20308
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20308
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20308
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes