## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Whinstone Lodge
Front Street
Whitley Bay
NE25 8DB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-20348
DATE OF REPORT: 11/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20348
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Whinstone Lodge
Front Street
Whitley Bay
NE25 8DB
Carried Out On | 30/06/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Plant room faults temperature plant room is extremely hot. DHWS Water heater no1 fault light is lit. ASHP flow failed both switched to the OFF position

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20348
SECTION 3: Report
Arrived on site and found water heater in hi limit fault this was reset and is all operational and working now. I measured the temperatures of the roof middle and floor they were 23.5 23.1 and 23 degrees all within the regulatory temperatures. Yes it was warm in there. And the ASHP work is still on going

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes