## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Mayfield Park
Bristol Drive
Battle Hill
NE28 9BF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-20451
DATE OF REPORT: 06/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20451
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Mayfield Park
Bristol Drive
Battle Hill
NE28 9BF
Carried Out On | 06/07/2022
Survey Completed By | Stephen Green
SECTION 2: Introduction
6 Monthly Check / Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20451
SECTION 3: Report
Carried out 6 monthly checks Boilers 2x Hamworthy Fleet f150v Boilers 2 off due to parts required 2x lochinvar gas fired water heaters shw60 325ce- working satisfactory Hotwater expansion vessels 2x auasystem drained and pressurised to 3bar 60 ltr Pressurisation unit 2x wilo comfort P135 both operating no faults Heating expansion vessel 1x wilo b and 200 ltr drained and pressurised to 1.5bar LTHW Pumps heating zone 1 1x twin head magna3d 40 120f 250- found head 1 in fault . 1.4 amps LTHW pumps heating zone 2 1x twin head grundfos mge80b 2 ft100 ha - operational satisfactory 1.5amp DHWS hot water Secondary pumps 1x twin head magna3d 32 80 180 grundfos operational satisfactory no faults Butterfly valves OK Lagin OK condensate OK Gauges OK Ventilation OK Gas solenoid OK Plant room clean ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20451
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20451
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20451
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20451
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20451
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes