## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Swiftdale Close
Bedlington
Northumberland
NE22 7LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20495
DATE OF REPORT: 22/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20495
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Swiftdale Close
Bedlington
Northumberland
NE22 7LF
Carried Out On | 13/07/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Electrical works following planned installation for new boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20495
SECTION 3: Report
Combi:Yes Conversion: S/plan: Y/plan: Zoned: Earthing system: TNCS Main Fuse:LIM Meter tail size:25 Main earth size:16 Gas bond:10 Link bonded - .05 Water bond:10 Consumer unit: MAKE:WYLEX MCB SIZE:16A EDITION: 17th LOCATION:Hallway cupboard CIRCUIT DESCRIPTION: Water Heater - 2.5/1.5 CIRCUIT NUMBER:03 Ze: .20 PFC: Zdb: .20 PFC: 1.16ka PSCC: 1.13ka L-L: N-N: E-E: R1+R2: .19 Zs: .34 30mA: RCD X 1: 35.8 RCD X 5: 12.4 100mA:Na Any issues with installation ie: FAULT CODES EQUIPMENT USED: WAS A RCBO USED: STAT: PROGRAMMER: CYL STAT: WIRING CENTRE: CROSS BONDED: BLANK PLATES: FUSED SPUR CONNECTION UNIT: BACK-BOX: WAGO’s: TRUNKING: CABLE 5 CORE: CABLE 3 CORE: ANY OTHER CABLE USED:

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20495
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20495
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20495
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20495
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20495
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes