## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Derwentdale Court
Blackhill
Consett
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20560
DATE OF REPORT: 11/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20560
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 19 Derwentdale Court
Blackhill
Consett
DH8 8PY
Carried Out On | 27/07/2022, 11/08/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Investigate water pressure issue with shower

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20560
SECTION 3: Report
Located and isolated cold and hot water supplies to full building. To access TMV in flats 15 and 23 voids we had to remove WC and boxing and remove pressure reducing valve. Replaced MTV to 15 and 25, commissioned new valve and returned hot and cold services to building. Refitted box and WC. Recorded tap tps in 15 and 23 see report. Flat 23 Flat 15 Kitchen Hot 10L 60 Degrees C 10L 59 Cold 10L 18 10L 22 Basin Hot 10L 43 4L 43 Cold 10L 19 7L 20 Bath Hot 13L 43 16L 43 Cold 24L 17.5 14L 22 New basin taps require for Flat 15, poor flow, faulty taps.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20560
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20560
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20560
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20560
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20560
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes