## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Garden Crescent
Consett
County Durham
DH8 0PT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20609
DATE OF REPORT: 13/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20609
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Garden Crescent
Consett
County Durham
DH8 0PT
Carried Out On | 12/07/2022, 13/07/2022
Survey Completed By | Tony Justice
SECTION 2: Introduction
Survey for Reactive boiler installation

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20609
SECTION 3: Report
Boiler to be removed - vaillant Boiler Serial number - Combi / heat only / system boiler -combi Boiler location - upstairs cupboard Is 22mm gas pipe visible at boiler - yes Flue type - Horizontal Any access requirements - outside work will be awkward Flue guard needed - no Standoff kit required - no Gas meter internal / external -external Condensate pump required - no Condensate termination - through wall, needs upgrading and will need 32mm to soil pipe boss connector Number of radiators - 7 Size of pipework at radiators -10mm Number of bathrooms - 2 Electric shower - no Any other means of heating - electric fire Current Cooker Type - gas If gas, please state make and model Current Cooker Type - If gas, please state make and model

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20609
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20609
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20609
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20609
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20609
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes