## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
33 Park View
Ne61 5xl
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20645
DATE OF REPORT: 12/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20645
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 33 Park View
Ne61 5xl
Carried Out On | 12/07/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Leaking from gate valve on Communal heating.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20645
SECTION 3: Report
Left at 7:45 Finished at 11:15 Small drip coming from gland of gateway valve, attempted to isolate but still slightly dripping. Zenith ro call tenant early in morning to arrange call back resolve issue.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20645
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20645
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20645
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20645
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20645
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes