## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Stanley Court
Stanley
Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20648
DATE OF REPORT: 13/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20648
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Stanley Court
Stanley
Durham
DH9 6HD
Carried Out On | 13/07/2022
Survey Completed By | Mark Hutchinson
SECTION 2: Introduction
Tenant is really struggling with the heat in his flat could someone from Zenith come out and see if they are able to turn it off in his flat. Gent is struggling to breathe due to how hot it is.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20648
SECTION 3: Report
One pipe system Unable to turn the heating off as permission will be required from Karbon homes and 2 tenants are complaining rhat its too cold so we are unable to cut the building/wings heating off completely Recommend if at all possible an air purifier for this tenant as his breathing is very erratic

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20648
SECTION 4: Photos
Room / Area
BEDROOM
Description
One pipe example pic
Notes
None
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20648
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20648
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20648
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20648
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes