## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Swiftdale Close
Bedlington
Northumberland
NE22 7LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20700
DATE OF REPORT: 14/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20700
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Swiftdale Close
Bedlington
Northumberland
NE22 7LF
Carried Out On | 14/11/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Replacement boiler - planned works

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20700
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - feb 2029 Downstairs Smoke Alarm Location & Date - may 2031 Heat Alarm Location & Date - na Co Alarm Location & Date - Nov 2031 landing Co Alarm Replaced - Yes/No - no Boiler to be removed - potterton gold 28 Boiler Serial number – not visible Job Type – Conversion / boiler replacement / full heating - combi swap Combi / heat only / system boiler -combi Boiler location - landing cupboard Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue - horizontal Flue guard needed - no Standoff kit required - no Gas meter internal / external – external at front door Condensate Condensate pump required – Yes/No - no Condensate current termination acceptable yes or no - needs upgrading through the wall If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Through wall in 19 Number of radiators - 9 Size of pipework at radiators - 15 Number of bathrooms - 1 Electric shower - no Any other means of heating - no Current Cooker Type – Electric / Gas - gas cooker stoves range cooker Current Fire Type – Electric / Gas - no fire

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20700
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20700
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20700
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20700
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20700
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes