## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Dorking Avenue
North Shields
Tyne and Wear
NE29 7QX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-20729
DATE OF REPORT: 24/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20729
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Dorking Avenue
North Shields
Tyne and Wear
NE29 7QX
Carried Out On | 24/01/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Survey for replacement boiler - planned works

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20729
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -no upstairs Downstairs Smoke Alarm Location & Date -hall1131,lounge0532 Heat Alarm Location & Date -kitchen0532 Co Alarm Location & Date -kitchen0933 Co Alarm Replaced - Yes/No yes Boiler to be removed -yes Boiler Serial number –BNF094340267HB Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Horizontal Any access requirements to access flue - Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs 32mm through the wall Is the condensate currently through the wall in 19 or 32mm ?19 Number of radiators -5 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric / Gas gas Current Fire Type – Electric / Gas. None

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20729
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20729
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20729
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20729
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20729
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes