## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Phoenix Rise
Ambassadors Way
North Shields
NE29 8SQ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-20926
DATE OF REPORT: 06/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20926
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Phoenix Rise
Ambassadors Way
North Shields
NE29 8SQ
Carried Out On | 18/07/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical / 6 Monthly Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20926
SECTION 3: Report
Carried out 6 monthly ppm 3x Hamworthy Fleet f85v boilers 1= operational 2= operational 3= operational 2x lochinvar shw 61-325 water heaters 1= operational 2= operational 2x wilo comfort p235 pressurisation units 1= operational 2= isolated ASHP system isolated Water test = PH6 @29 degrees discoloured Flue ok Solonoid = operational Condensate = ok Lagging = ok C/H expansion vessel 500 litre = ok charged to1.5 bar 2x Siemens actuators = operational 2x 3 ports = operational Gauges = operational Valves = operational Zone 1 vt pumps Grundfos magna 3d 65-150. 1= operational 3.1 amps. 2= operational 3.3 amps Zone 2 vt pumps Grundfos magna 3d 40-150. 1= operational 3.3. 2= operational 3.3 amps Secondary hot water return pump Grundfos ups15-50. Operational 0.2 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20926
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20926
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20926
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20926
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20926
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes