## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Aged Miners Homes
Coast Road
Blackhall Mill
TS27 4PA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-21003
DATE OF REPORT: 12/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21003
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 26 Aged Miners Homes
Coast Road
Blackhall Mill
TS27 4PA
Carried Out On | 19/07/2022
Survey Completed By | Jake Dowson
SECTION 2: Introduction
AGSC solar in property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21003
SECTION 3: Report
JD 19-07-2022 Alpha solar drain back unit - passed. Fault on alpha unit, topped drainback system up with water and reset the unit. Pump started to kick in. Expansion vessel ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21003
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21003
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21003
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21003
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21003
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes