## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Capercaillie Lodge
Queens Road
Annitsford
NE23 7RA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-21061
DATE OF REPORT: 30/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21061
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 18 Capercaillie Lodge
Queens Road
Annitsford
NE23 7RA
Carried Out On | 30/11/2022
Survey Completed By | Ste Hind
SECTION 2: Introduction
Electrical works - planned boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21061
SECTION 3: Report
Combi: Yes Conversion: S/plan: Y/plan: Zoned: Earthing system: TT: ROD LOCATION: TN-S: TN-C-S: Yes Main Fuse: 60A: 63A: 80A: 100A: Yes Meter tail size: 16mm: Yes 25mm: Main earth size: 10mm: 16mm: Yes Gas bond: 10mm: Yes Water bond: 10mm: Yes Plastic: Consumer unit: MAKE: Wylex MCB SIZE: 6A: Yes 10A: 16A: 32A: RCBO SIZE: 6A: 10A: 16A: 32A: RCBO TYPE: A: AC: EDITION: 15th: 16th: Yes 17th: 18th: SPD YES TYPE: NO: No LOCATION: In hall cupboard CIRCUIT DESCRIPTION: heating CIRCUIT NUMBER: 9 NUMBER OF WAYS DB: 12 Ze: 0.35 PFC: 1406A Zdb: PFC: PSCC: L-L: N-N: E-E: R1+R2: 1.07 Zs: 0.61 30mA: RCD X 1: 37ms RCD X 5: 24ms RCD TYPE: A RCD TYPE: AC 100mA: Any issues with installation ie: FAULT CODES EQUIPMENT USED: 2x ingle patresses, 1m 5core flex, 1x single blank plate WAS A RCBO USED: STAT: RF wireless programmable room thermostat WIRED: Receiver RF: Yes PROGRAMMER: CYL STAT: WIRING CENTRE: CROSS BONDED: No X 5: X 6: BLANK PLATES: Single: 1 Double: FUSED SPUR CONNECTION UNIT: BACK-BOX: 2 patresses WAGO’s: 3 TRUNKING: CABLE 5 CORE: 1m CABLE 3 CORE: 6mm EARTH: ANY OTHER CABLE USED:

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes