## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Chareway
Hexham
Northumberland
NE46 3EZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-21091
DATE OF REPORT: 05/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21091
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 42 Chareway
Hexham
Northumberland
NE46 3EZ
Carried Out On | 05/09/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Eelctrical works - planned boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21091
SECTION 3: Report
Combi: yea Conversion: S/plan: Y/plan: Zoned: Earthing system: TT Main Fuse: Lim Meter tail size: 16mm Main earth size: 10mm Gas bond: 10mm Water bond: 10mm Consumer unit: MAKE: wylex MCB SIZE: 16amp EDITION: 18th metal clad LOCATION: under stairs CIRCUIT DESCRIPTION: heating + hall skt CIRCUIT NUMBER: 3 Ze: 1 amp 4amps PFC: 336 ohms 55.4ohms Zdb: 12a PFC: 19.2 PSCC: .40 574 A L-L: N-N: E-E: R1+R2: Zs: 30mA: RCD X 1: RCD X 5: 100mA: Any issues with installation ie: FAULT CODES EQUIPMENT USED: WAS A RCBO USED: STAT: PROGRAMMER: CYL STAT: WIRING CENTRE: CROSS BONDED: BLANK PLATES: FUSED SPUR CONNECTION UNIT: BACK-BOX: WAGO’s: TRUNKING: CABLE 5 CORE: CABLE 3 CORE: ANY OTHER CABLE USED:

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes