## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Pullman Court
Low Fell
Gateshead
NE9 6DZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-21129
DATE OF REPORT: 17/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21129
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Pullman Court
Low Fell
Gateshead
NE9 6DZ
Carried Out On | 17/10/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Eelctrical works - planned boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21129
SECTION 3: Report
Combi: ✅ Conversion: S/plan: Y/plan: Zoned: Earthing system: TT: ROD LOCATION: TN-S: TN-C-S: ✅ Main Fuse: 60A: 63A: 80A: ✅ 100A: Meter tail size: 16mm: 25mm: ✅ Main earth size: 10mm: 16mm: ✅ Gas bond: 10mm: Water bond: 10mm: Plastic: Consumer unit: MAKE: wylex MCB SIZE: 6A: 10A: 16A: 32A: RCBO SIZE: 6A: ✅ 10A: 16A: 32A: RCBO TYPE: A: ✅ AC: EDITION: 15th: 16th: ✅ 17th: 18th: SPD YES TYPE: NO: ✅ LOCATION: hallway CIRCUIT DESCRIPTION: water heater CIRCUIT NUMBER: 2 NUMBER OF WAYS DB: 12 Ze: .20 PFC: 1.17 Zdb: .19 PFC: 1.20 PSCC: .17 1.38ka L-L: N-N: E-E: R1+R2: .26 Zs: .43 30mA: RCD X 1: 18.6 RCD X 5: 18.6 RCD TYPE: A RCD TYPE: AC ✅ 80amp 100mA: Any issues with installation ie: FAULT CODES EQUIPMENT USED: WAS A RCBO USED: STAT: WIRED: RF: PROGRAMMER: CYL STAT: WIRING CENTRE: CROSS BONDED: X 5: X 6: BLANK PLATES: Single: Double: FUSED SPUR CONNECTION UNIT: BACK-BOX: WAGO’s: TRUNKING: CABLE 5 CORE: CABLE 3 CORE: 6mm EARTH: ANY OTHER CABLE USED:

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21129
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21129
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21129
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21129
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21129
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes