## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Aged Miners Homes
Coast Road
Blackhall Mill
TS27 4HG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-21152
DATE OF REPORT: 12/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21152
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 Aged Miners Homes
Coast Road
Blackhall Mill
TS27 4HG
Carried Out On | 21/07/2022
Survey Completed By | Jake Dowson
SECTION 2: Introduction
AGSC Solar for property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21152
SECTION 3: Report
JD 21-07-2022 Alpha solar drain back unit service passed. Solar unit was condemned by another engineer. Went up to the loft and the unit was running dry. Topped water up inside of the unit and turned it back on. Pump started running. Everything ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21152
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21152
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21152
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21152
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21152
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes