## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
32 Whinney Banks Road
Middlesbrough
TS5 4HG
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-21162
DATE OF REPORT: 20/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21162
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 32 Whinney Banks Road
Middlesbrough
TS5 4HG
Carried Out On | 20/07/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
External PRV pipe needs removing and pipe cowell (mushroom) needs placed on each of the installs. - Move the cable to the boiler 25mm away from the gas pipe and cable tie so it doesn't fall back into place.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21162
SECTION 3: Report
PN 20/5/22 No external prv pipe work visible Mushroom already fitted Cable was away from gas pipe more than 25mm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes