## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rudyerd Court
Little Bedford Street
North Shields
NE29 6PD
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-21221
DATE OF REPORT: 06/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21221
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rudyerd Court
Little Bedford Street
North Shields
NE29 6PD
Carried Out On | 22/07/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 monthly / Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21221
SECTION 3: Report
Carried out ppm check 3 x remeha quinta Pro 115 boilers. 1= operational. 2= operational. 3= operational 2 x remeha calorifiers. 1= operational 2= operational 2 x DHW expansion vessels 1= operational charged to 3.5 bar 2= operational charged to 3.5 bar 1 x CH expansion vessel = operational charged to 1.5 bar 1 x flamco pressurisation unit = operational All valves operational Gauges operational except 1 pressure gauge Flue = poor condition all seals are leaking. Carried out temporary repair 2 x Siemens actuators 1= operational 2= faulty this is a Siemens acvatix sqx62 2 x 3 ports = operational Lagging good BMS not working correctly 1 x gas interlock = operational Old leaks evident No PRV on the cold water evident All prv,s operational 1 x secondary return pump Grundfos magna 32-100 = operational 0.5 amps 2 x vt pumps Grundfos TPE 1= operational but registering a fault 1.3 amps 2= faulty 2 x primary pumps Grundfos TPE 50-240 = operational 1 amps 2= 3.4 amps 2 x destrat pumps Grundfos comfort 1= operational 0.3 amps 2= operational 0.3 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21221
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21221
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21221
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21221
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21221
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes