## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 greenland Avenue
Middlesbrough
TS5 4JJ
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-21230
DATE OF REPORT: 03/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21230
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 26 greenland Avenue
Middlesbrough
TS5 4JJ
Carried Out On | 29/07/2022, 03/08/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Complete the 1st and 2nd fix plumbing works required on kitchen replacement.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21230
SECTION 3: Report
PN29/7/22 Temp sink installed Pre works survey done Gas works Bayonet letting bye Replaced bayonet cert sent on email 3/8/22 Second fix complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21230
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21230
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21230
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21230
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21230
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes