## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
49 Hollyhill Gardens East
Stanley
County Durham
DH9 6PQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-21290
DATE OF REPORT: 29/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21290
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 49 Hollyhill Gardens East
Stanley
County Durham
DH9 6PQ
Carried Out On | 29/07/2022
Survey Completed By | Daniel Lockey
SECTION 2: Introduction
External independent boiler assessment as requeted by Joanne Carney

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21290
SECTION 3: Report
Gas in 22mm Flue Extensions x 4 plus vertical terminal 45s x 4 Condensate pump Gas meter external. Minimal pipe work and fittings required Boiler showing signs of age but can't see any leaks next to or on the boiler. Every thing operating as it should whilst servicing. Pressure holding under 2mbar. Gas pressure/rate ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21290
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21290
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21290
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21290
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21290
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes