## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-46 The Manors
Adderlane Road
West Wylam
NE42 5ET
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-21403
DATE OF REPORT: 07/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21403
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-46 The Manors
Adderlane Road
West Wylam
NE42 5ET
Carried Out On | 28/07/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Reports of no heating from or hot water from Flats in building ---- 0114458785

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21403
SECTION 3: Report
Arrived on site to find issue was no heating in flat 32 Found the spur switch was turned off that supplied electric to the stat and 2 port valve also found the fuse had blown. This was down to a faulty room stat which I replaced with a Drayton RTS1 from van stock. After this was changed I had no heat circulation through the flow and return. I went to the plant room and found the vt circuit was off due to the sensors not calling for heat. I tried the 3 port in manual and found it to circulate straight away but put back in to auto position. I offered the tenant use of heaters but said he was fine

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21403
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21403
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21403
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21403
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21403
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes