## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Boulmer House
Bulmer Road
South Shields
NE34 6ER
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-21485
DATE OF REPORT: 29/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21485
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | Boulmer House
Bulmer Road
South Shields
NE34 6ER
Carried Out On | 29/07/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Please investigate Plant/BMS - a) Attempt to identify a repair solution to mitigate the pumps continually going into fault.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21485
SECTION 3: Report
Arrived on site to find heating circuit was not working. After testing I found the boilers were operational but the contatctors have become faulty. I have managed to get 1 to operate for vt pump 2 this still requires replacing and contactor 1 I is not repairable. I also found primary pump 2 faulty. The HMI is faulty on the bms and also I would recommend the bms been looked at as this is clicking away. I would also recommend the boilers to be looked at as they sound like there ignition fan speeds need adjustments All parts required are been quoted for

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21485
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21485
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21485
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21485
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21485
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes