## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
Rooms within House
Abbott House: 1 Quarry Bank Court
NE4 6NG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-21708
DATE OF REPORT: 01/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21708
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
Rooms within House
Abbott House: 1 Quarry Bank Court
NE4 6NG
Carried Out On | 01/08/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No heating or hot water at 1 Quarry Bank Court have tried resetting displaying error code L2. Supported living please call staff office when on way on 01912261647

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21708
SECTION 3: Report
PN 1/8/22 Reset gas valve All working hot water and heating working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes