## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
38 Phoenix Rise
Ambassadors Way
North Shields
NE29 8SQ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-21818
DATE OF REPORT: 07/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21818
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 38 Phoenix Rise
Ambassadors Way
North Shields
NE29 8SQ
Carried Out On | 26/08/2022, 07/11/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Investigate underfloor heating system.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21818
SECTION 3: Report
Arrived on site, located heating valves to be removed outside flat 1 and comms room. Located isolation valves and part drained system. Cut out faulty differential valve and commissioning valve. Fitted new lever valves and altered pipework in preparation of further work to fit new differential and commissioning valves. Filled, vented and tested heating. Tidied up. 4 x 28mm straight slips, press 4 x 1" male x 28mm press

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21818
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21818
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21818
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21818
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21818
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes