## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Castle Close
Fellside Park
Whickham
NE16 4HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-21889
DATE OF REPORT: 11/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21889
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Castle Close
Fellside Park
Whickham
NE16 4HU
Carried Out On | 08/08/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
6 Monthly / Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21889
SECTION 3: Report
3 x Hamworthy pureness integra 70 = all operational on arrival 1x GL 210= Operational on arrival 1 x CH expansion vessel = 2.7 bar 1 x DHWS expansion vessel = faulty, full of water 1 x flamco pressurization unit = OK Flu = good Lagging = good Guages = DHWS pump differential guages not working, CH pump differential gauges ot working. Rest all ok Old leaks evident on pipe works and on expansion bellows across both DHW pumps. 2 x CH pumps = GRUNDFOS ups 40-60/2F Pump 1 = 1.3 AMPS pump 2 = 1.3 AMPS 2 x DHWS pumps = GRUNDFOS MAGNA 1 40-60 F 220 Pump 1 = 1.3 AMPS pump 2 = 1.4 AMPS 1 x gas Interlock = ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes