## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 St Johns Court
Front Street
Sacriston
DH7 6JA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-21899
DATE OF REPORT: 08/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21899
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 19 St Johns Court
Front Street
Sacriston
DH7 6JA
Carried Out On | 08/08/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Reported by Natasha Connelly scheme coordinator no heating or hot water to number 19 communal code 4567

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21899
SECTION 3: Report
Unable to gain access to flat 9 but communal rads are heating up, but when investigated in side the plant room boiler 1 was showing error code E14, I have ordered ignition lead and transformer box at byker wolseley

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21899
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21899
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21899
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21899
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21899
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes