## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Pentlands Terrace
Stanley
DH9 6QJ
CARRIED OUT ON BEHALF OF
G Emerson
REPORT NUMBER: 22-21905
DATE OF REPORT: 11/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-21905
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | G Emerson
Address | 8 Seagent Place
The Woodlands
Shotley Bridge
Consett
DH8 0TR
Site Address | 23 Pentlands Terrace
Stanley
DH9 6QJ
Carried Out On | 08/08/2022, 11/08/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Fixing boiler leak

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-21905
SECTION 3: Report
FLOW CONNECTION FROM BOILER HEAT EXCHANGER SPLIT. Isolated boiler from main water feed at the boiler. See email for details and images. 11/08/22 replaced left hand block, tenant said stat does not work properly, stat not talking to receiver

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-21905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-21905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes