## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Chapelville
Front Street
North Shields
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-22056
DATE OF REPORT: 15/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22056
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 22 Chapelville
Front Street
North Shields
NE13 6EH
Carried Out On | 13/08/2022
Survey Completed By | Christopher Reynolds
SECTION 2: Introduction
Heating won't turn off

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22056
SECTION 3: Report
22 Chapelville Front Street North Shields NE13 6EH Mrs Thompson Checked underfloor heating pipework, pipework cool to touch. Thermostats seem to be working correctly, requesting a demand when turned up. Apartment warm with no heating on, most likely due to the hot weather. Checked neighbours apartment to compare, still warm However tenent had fans on so slightly cooler.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22056
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22056
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22056
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22056
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22056
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes