## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Joicey Aged Miners
Herrington
Shiney Row
DH4 0LA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-22061
DATE OF REPORT: 14/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22061
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 9 Joicey Aged Miners
Herrington
Shiney Row
DH4 0LA
Carried Out On | 14/08/2022
Survey Completed By | Christopher Reynolds
SECTION 2: Introduction
Leak from behind pipework in bathroom going into bathroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22061
SECTION 3: Report
Heather Wilson 9 joicey aged minors Herrington Shiney Row DH4 0LA Shower pipework incorrectly installed, push for fitting not secure resulting in failing to hold. Repealed and fitted. FOW required for the damp and refitting of wet room boxing work. See attached photos.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes