## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 Faber Street
York
North Yorkshire
YO31 7XH
YO32 9WN
CARRIED OUT ON BEHALF OF
York Housing Association
REPORT NUMBER: 22-22075
DATE OF REPORT: 07/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22075
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | York Housing Association
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | 34 Faber Street
York
North Yorkshire
YO31 7XH
Carried Out On | 01/09/2022, , 07/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Solar pannel is not heating up water. If possible to attend please confirm via maintenance@yorkha.org.uk also kindly confrim with the customer when you are able to attend.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22075
SECTION 3: Report
Visited site, spoke tenant, tenant under the impression that the single solar panel can heat the water cylinder direct without the top up from the gas boiler, I explained to the tenant that the system design is a hybrid system design and the solar panel will only supply a low percentage of heat from the solar panel and the gas boiler tops up the water cylinder to achieve circa 55 degrees c at the taps. I checked the entire operation of the gas boiler and solar heating systems and all components are operating correctly. We could consider the installation of a smart efficiency tank, which will offer a smaller water capacity and be if more benefit to the tenant.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes