## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Aged Miners Homes
Peacehaven
Ferry hill
DL17 8BH
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-22078
DATE OF REPORT: 18/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22078
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 14 Aged Miners Homes
Peacehaven
Ferry hill
DL17 8BH
Carried Out On | 18/08/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Repair gas valve and complete CP12 once done

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22078
SECTION 3: Report
Change gas valve trace leak back to compression fitting pick part up from connnset had to recap meter readings threw the roof 11500 ppm 14% co either faulty pre set gas valve or main heat x chocked up GB 16/08/22 flu gasket passing, getting 90 PPM inside boiler at top of heating engine where flu connectes, flu gasket seal for top of heat engine required and burner door seal for potterton oromax combi 28 erp GC 4739348

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes