## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Cragside Court
Off Cragside Gardens
Lobley Hill
NE11 0AW
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-22079
DATE OF REPORT: 14/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22079
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 9 Cragside Court
Off Cragside Gardens
Lobley Hill
NE11 0AW
Carried Out On | 14/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
JOB RAISED AS PER JADE. We attended this flat on 09.05.2022 and there are some TMVs required to rectify this fault. 1992 office door 5235 master key for flats in office key safe return when completed work. Please also call Andrew McGrevy on 07767 116 964 to arrange access

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22079
SECTION 3: Report
Accessed flat, TMV to be fitted to kitchen sink and bathroom basin. Shower fitted. 15mm copper pipe Boxing to remove and make good

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes