## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 The Haven
Burnhope
Durham
DH7 0BG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22083
DATE OF REPORT: 16/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22083
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 28 The Haven
Burnhope
Durham
DH7 0BG
Carried Out On | 16/08/2022
Survey Completed By | Tony Justice
SECTION 2: Introduction
Reactive survey for boiler replacement.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22083
SECTION 3: Report
Boiler to be removed - vaillant Boiler Serial number - Combi / heat only / system boiler -combi Boiler location - kitchen Is 22mm gas pipe visible at boiler - no Flue type - Horizontal Any access requirements - no Flue guard needed - no Standoff kit required - yes Gas meter internal / external -ex Condensate pump required - no Condensate termination - sink Number of radiators - 5 Size of pipework at radiators -10mm Number of bathrooms - 1 Electric shower - yes Any other means of heating - electric fire Current Cooker Type - gas If gas, please state make and model before dvg695 Current Cooker Type - If gas, please state make and model

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22083
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22083
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22083
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22083
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22083
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes