## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Priestclose Cottages
Prudhoe
Northumberland
NE42 5DL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22094
DATE OF REPORT: 25/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22094
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Priestclose Cottages
Prudhoe
Northumberland
NE42 5DL
Carried Out On | 15/08/2022, , 23/08/2022, 24/08/2022, 25/08/2022, 26/08/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Wet room to be replaced as existing

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22094
SECTION 3: Report
Tuesday, stripped both 1 and 2 bathrooms out, adjusted pipework and fitted WCs in both property’s. Wednesday, fitted Basin in number 1 as tiles were dry enough to do so. Adjusted waste pipe to suite. Used beaker to break away concrete floor and get it low enough to compensate for trap and low level tray. Thursday- fitted both 1 and 2 wet room shower trays and waste pipes, both of which is tested. Fitted basin in 2nd property. And tested. Both property’s awaiting showers but tiles must be fitted first.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes