## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
33 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22138
DATE OF REPORT: 13/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22138
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 33 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 13/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Tenant has reported that the radiator in the bathroom gets dangerously hot and because this is not controlled by a thermastat he is not able to turn it down. There are also thermostat problems and he is not able to put the heating on.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22138
SECTION 3: Report
Towel rail in bathroom too hot, tenant requested towel rail to be valved off, I valved off towel rail. Radiators not heating up, I tested heating controls, thermostat and 2 port valve, 2 port valve not working. I removed 2 port valve head, still no flow in heating system. Possible jammed or broken gate valve serving heating in flat. I could find any local isolation on heating system. Spoke to DH and GP and suggested a site visit to develop a working procedure when we are changing rad valve and zone valves.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22138
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22138
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22138
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22138
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22138
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes