## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
44 Deneburn Terrace
Consett
County Durham
DH8 8BB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22187
DATE OF REPORT: 02/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22187
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 44 Deneburn Terrace
Consett
County Durham
DH8 8BB
Carried Out On | 02/09/2022
Survey Completed By | Paul Clifford
SECTION 2: Introduction
Planned survey in preperation for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22187
SECTION 3: Report
Boiler to be removed -ecotec pro 28 Boiler Serial number - Combi / heat only / system boiler -Combi Boiler location -airing cupboard Is 22mm gas pipe visible at boiler -yes Flue type -vertical Any access requirements - Flue guard needed - Standoff kit required - Gas meter internal / external -external Condensate pump required - Condensate termination -internal Number of radiators - Size of pipework at radiators - Number of bathrooms - Electric shower - Any other means of heating - Current Cooker Type -electric If gas, please state make and model Current Cooker Type - If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22187
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22187
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22187
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22187
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22187
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes