## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2A Landsdown Road
Goole
East Riding of Yorkshire
DN14 6UL
YO32 9WN
CARRIED OUT ON BEHALF OF
York Housing Association
REPORT NUMBER: 22-22239
DATE OF REPORT: 22/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22239
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | York Housing Association
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | 2A Landsdown Road
Goole
East Riding of Yorkshire
DN14 6UL
Carried Out On | 22/08/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
No Heating / Hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22239
SECTION 3: Report
Investigated boiler faults no heating no hot water. Found, water leak on heating hydro block, main PCB damaged and short circuit, heat exchanger leaking, combustion fan faulty. Condemned boiler and made safe

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes