## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-29 Vicarage Court
Studley Road
Hartlepool
TS15 1TN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22306
DATE OF REPORT: 25/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22306
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-29 Vicarage Court
Studley Road
Hartlepool
TS15 1TN
Carried Out On | 25/08/2022, 24/08/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Replace Heat Exchanger.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22306
SECTION 3: Report
Logged on to zimm at 0735 and logged off job at 1700, zimm did not register this event. Traveled to site, isolated boiler 1 and drained, completed electrical safety checks and stripped boiler. Replaced cast sections of boiler and rebuilt boiler. Further work and return visit required Tidied boiler room and removed redundant water heater Completed heat exchanger replacement, connected gas and electricity, operated boiler, boiler not working, diagnosed faulty ignition unit. Boilers 2 and 3 on closer inspection found faulty low fire damper on b2 and faulty high fire damper on b3, removed parts from b1 to repair boilers 2 and 3. Boiler 1 requires 1 x ignition unit, 1 x high fire damper motor and 1 x Low fire damper motor. Zimm did not l9g start time 25.8.22 0745 to 1625 on site

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22306
SECTION 4: Photos
Room / Area
Description
Notes
New sections
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22306
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22306
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22306
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22306
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes