## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-22414
DATE OF REPORT: 26/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22414
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
Carried Out On | 26/08/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Water is pouring out of the communal boiler in the boiler house and cant be turned off. job number 20465044. Scheme officer is on site till 4pm 07920173219. Carisbrokke court post code SR1 3SN

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22414
SECTION 3: Report
Travelled to site, electrician had cauded damage to pipework, cold water main, 67mm x 15mm copper brazed joint. Mains cold water still on, I spoke to Scheme manager and decided to leave water on as leak was confined to plant room, the whole site would have to be turned off to isolate leak. At this point the andrews water heaters are operational but the 2 x heating boilers are off, left hand boiler off, awaiting completion of a previously diagnosed issue and the right hand boiler was off due to water damage from leak. I completed a risk assessment and decided before I could safely work in the boiler room I would tidy the boiler room and remove redundant valves, pipework laid on the floor creating a trip hazard. My colleagues located and delivered crimp tools, pipe and fittings. We isolated water, replaced leaking pipework and fitting, filled and tested new pipework. Visited several flats to test supply at taps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22414
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22414
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22414
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22414
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22414
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes