## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Old Custom House
67 Borough Road
North Shields
NE29 6LH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22452
DATE OF REPORT: 20/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22452
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Old Custom House
67 Borough Road
North Shields
NE29 6LH
Carried Out On | 30/08/2022, 09/09/2022, 16/09/2022, 20/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Investigate pressurisation unit. Please assess for repair or replacement.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22452
SECTION 3: Report
Recharged pressure vessel, but still losing pressure. Pressure fill unit has a leaking fill pump, I tried to repair but it needs replacing. DHW secondary retn pump has stopped working. Replace, pressure vessel, DHW pump, and fill unit pump or replace fill unit, if pump is no longer available. 28mm pipe x 1m 28mm brass unions x 2 28mm lever valves x2 28mm compression straights. Picked up pump, no pump valves, travel to site, and plumb centre, fittings not available on shelf. Replaced, expansion vessel, pressure unit and domestic hot water pump, altered pipework, filled vented and tested system as per quote , all ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22452
SECTION 4: Photos
Room / Area
Plantroom
Description
DHW sec return
Notes
Room / Area
Plantroom
Description
Pressure vessel
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22452
SECTION 4: Photos
Room / Area
Plantroom
Description
Fill unit pump
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22452
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22452
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22452
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes