## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22473
DATE OF REPORT: 12/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22473
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 23 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 08/09/2022, 12/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
The TRV valve on the rad is going to need replaced would you be able to raise a job for zenith to attend and replace this valve

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22473
SECTION 3: Report
Multiple issues with heating system. All radiator getting warm when in the off position. Heating configuration : rads with TRVs, room stat and 2 port zone valve. Kitchen radiator TRV and lock shield valves need replacing, I attempted to isolate heating valve in service cupboard, valves don't work. Located 2 port in kitchen boxing, no isolation valves for maintenance work. I tested 2 port and room stat, 2 port not closing fully. NO local heating isolation valves in corridor serving flat 23. FOW, replace, TRV and lock shield in kitchen 15mm. Freeze heating pipework in service cupboard and fit new lever valves to flow and return and lver valves to towel rail. also tap supply's don't isolate or service valves leak when operated. Freeze pipework to hot and cold taps in service cupboard and fit new lever valves to hot and cold. Labour 2 x men all day 2 x 22mm crimp lever valve ( F and R ) 4 x 15mm crimp lever valves, ( H and C taps and towel rail ). 1 x15mm 2 port valve and 1 x room stat 8 x 15mm crimp straight slips 4 x 22mm crimp straight slips 3m 15mm pipe copper 3m 22mm pipe copper 1 x TRV and LSheild. Freezer kit or kits Joiner to make good boxing and tiles Returned to site, isolated hot and cold services to flat using a freezer kit replaced domestic hot and cold level valves filled and vented system. Isolated boiler cool system and allow freezer kit to freeze heating pipes in flat 23, removed old 2 port Heating valve and replace with new 2 port. Filled vented and tested all ok. All as pet quote.ony yo return and vox in pipework

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22473
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22473
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22473
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22473
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22473
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes