## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 - 37 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22492
DATE OF REPORT: 12/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22492
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 - 37 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 08/09/2022, 12/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
We have remote temperature monitoring installed on a number of assets at Park View. This has highlighted that the temperature of the cold water tap to the Laundry LHS sink does not go below 20 degrees and sometimes the temperature spikes when the tap is turned on. This is a legionella risk. The cause of this needs investigating. Could it be a valve or TMV further up the chain leaking hot water into the cold or could the cold pipe be sitting next to a recirculating hot water loop

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22492
SECTION 3: Report
Investigated cold water high temperature in kitchen and laundry. Today cold water temperature kitchen 16.2 dc, laundry 16.0 dc. Are the temperature monitors under the sink working and calibrated??, ask water treatment. Recommend we fit 15mm pipe lagging to hot and cold services under sinks No time to fit lagging today, please rebook for tomorrow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22492
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22492
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22492
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22492
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22492
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes