## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
1-29 Vicarage Court
Studley Road
TS25 1TN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22493
DATE OF REPORT: 31/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22493
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
1-29 Vicarage Court
Studley Road
TS25 1TN
Carried Out On | 31/08/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
No Hot Water in the building.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22493
SECTION 3: Report
On arrival checked boilers and heating, all ok, rads hot. Domestic hot water heaters ON in STANDBY, but not firing. I checked water heater parameters and set points, all ok Switched water heater operation from auto to manual and heaters fired. It's like BMS isn't sending an enable signal to water heater. I left heaters in HAND. Hot water now ok. Following yesterday's issues and today, It would be good practice to get a BMS engineer to site to establish what signals plant should or should not be receiving.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22493
SECTION 4: Photos
Room / Area
Plantroom
Description
Heating gauge
Notes
Room / Area
Plantroom
Description
Panel
Notes
Room / Area
Plantroom
Description
Water Heater
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22493
SECTION 4: Photos
Room / Area
Plantroom
Description
Water heater
Notes
Room / Area
Plantroom
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22493
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22493
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22493
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes